## May-2022
Meter Reading Analysis May-2022
Month Name | Line KV | KVARH | [5 empty] | KWH | [5 empty] | Total kwh | θ1=tan-1 B1/A1 | θ2=tan-1 B2/A2 | Cosθ1(>0.95) | Cosθ2(>0.95) | P.F.I Avg | Peak PFC= (.95/Cosθ1-1)*Kwh*Tk | OFF Peak PFC= (.95/Cosθ2-1)*Kwh*Tk | Total PFC | Peak= A1*TK | Off Peak= A2*TK | Total Bill (TK) | Original PFI
|  | PEAK |  | Difference (B1) | OFF PEAK |  | Difference (B2) | PEAK |  | Difference (A1) | OFF PEAK |  | Difference (A2)
|  | Opening | Closing |  | Opening | Closing |  | Opening | Closing |  | Opening | Closing
2022-05-04 | 33 KV | 17.27 | 21.19 | 3.92 | 50.26 | 61.88 | 11.62 | 77.61 | 96.86 | 19.25 | 224.12 | 275.5 | 51.38 | 194232.5 | 0.0056785 | 12.7435 | 1 | 0.97537 | 0.95 | 0 | 0 | 0 | 561666.875 | 1075254.95 | 1636921.825 | 1
| 11 KV | 169.09 | 173.05 | 3.96 | 491.14 | 501.1 | 9.96 | 611.17 | 616.89 | 5.72 | 1783.34 | 1804.73 | 21.39 | 14345.6903 | 0.022845 | 24.9685 | 1 | 0.90654 | 0.95 | 0 | 0 | 0 | 32356.8076 | 87155.2277 | 119512.0353 | 0.97631
[24 empty] | 33 KVA Bill = | 1636921.825
[24 empty] | 11 KVA Bill= | 119512.0353
[24 empty] | 33 KVA Demand charge= | 144000
[24 empty] | 11 KVA Demand charge = | 49800
[24 empty] | 33 KVA VAT 5% = | 89046.0912
[24 empty] | 11 KVA VAT 5% = | 8465.6018
[24 empty] | Total Bill = | 2047745.5533